## Water_consumption_2024
Water measurement devices | [5 empty] | Meter readings
Identification Nr. | Production hall | Short name | Measuring unit | Type of water | Diameter | [m3] | [17 empty] | transalation
[6 empty] | Dec | Jan | Febr | Marc | Apr | May | Jun | Jul | Aug | sept | Oct | Nov | Dec | I. Q | II. Q | III. Q | IV. Q | Sum |  | #NAME?
|  |  | Water supply | [20 empty] | 2. Fountain/ 2. Well
8 MB1 | G19 | Brunn 1 | 1. Kút/ 1. well | Industrial water | DN 80 | 5160.1 | 9003.5 | 12273.8 | 11457.6 | 11810.7 | 12028.5 | 14322 | 15939 | 19017.9 | 22424.6 | 19275.3 | 115.5 | 0 | 32734.9 | 38161.2 | 57381.5 | 19390.8 | 147668.4 | water metering after water treatment
9 MB2 | G19 | Brunn 2 | 2. Kút/ 2. well | Industrial water | DN 80 | 5962 | 9191.6 | 15307.6 | 15967.6 | 16680.4 | 16482.4 | 22105.6 | 24411.2 | 7475.6 | 67.1 | 0 | 0 | 0 | 40466.8 | 55268.4 | 31953.9 | 0 | 127689.1 | Consumption
MB3 | G19 | Brunn 1-2 | water metering after water treatment | Industrial water | DN 150 | 18183 | 37532 | 65857 | 94160 | 124575 | 153527 | 191906 | 234960 | 261503 | 290785 | 313060 | 313775 | 313775 | [5 empty] | 3. Well/ 3. Well
| G19 |  | consumption | Industrial water |  | 11803 | 18252.3 | 28325 | 28303 | 30415 | 28952 | 38379 | 43054 | 26543 | 29282 | 22275 | 715 | 0 | 74880.3 | 97746 | 98879 | 22990 | 294495.3 | Consumption
FB1 | G95 | Brunn 3 | 3. Kút/ 3. well | Industrial water | DN 80 | 1395805.4 | 1401220.7 | 1406641.5 | 1411980.9 | 1417743.8 | 1427069.6 | 1435328.4 | 1446515.4 | 1456631 | 1467406.6 | 1475834.8 | 1486896.4 | 1496506 | [5 empty] | 4. Well/ 4. Well
| G95 |  | consumption | Industrial water |  | 5516.5 | 5415.3 | 5420.8 | 5339.4 | 5762.9 | 9325.8 | 8258.8 | 11187 | 10115.6 | 10775.6 | 8428.2 | 11061.6 | 9609.6 | 16175.5 | 23347.5 | 32078.2 | 29099.4 | 100700.6 | Consumption
FB2 | G95 | Brunn 4 | 4. Kút/ 4. well | Industrial water | DN 80 | 1545207.4 | 1553545.4 | 1561862.5 | 1569075.2 | 1576649.8 | 1590969.6 | 1604208.1 | 1622121.6 | 1637018.9 | 1652140.6 | 1663964.5 | 1681005.7 | 1693838.3 | [5 empty] | 5. Well/ 5. Well
| G95 |  | consumption | Industrial water |  | 7639.5 | 8338 | 8317.1 | 7212.7 | 7574.6 | 14319.8 | 13238.5 | 17913.5 | 14897.3 | 15121.7 | 11823.9 | 17041.2 | 12832.6 | 23867.8 | 35132.9 | 47932.5 | 41697.7 | 148630.9 | Consumption
FB3 | G95 | Brunn 5 | 5. Kút/ 5. well | Industrial water | DN 80 | 835655.04 | 841911.4 | 848119.8 | 854172 | 860798.4 | 871029.5 | 880041.8 | 892802.9 | 903975.6 | 916564 | 926161.5 | 938228.5 | 949019.5 | [5 empty] | water metering after water treatment
| G95 |  | consumption | Industrial water |  | 5828.46 | 6256.36 | 6208.4 | 6052.2 | 6626.4 | 10231.1 | 9012.3 | 12761.1 | 11172.7 | 12588.4 | 9597.5 | 12067 | 10791 | 18516.96 | 25869.8 | 36522.2 | 32455.5 | 113364.46 | Consumption
FB4 | G95 | Brunn 3, 4, 5 | water metering after water treatment | Industrial water | DN 150 | 3712575.9 | 3732192.2 | 3751734.8 | 3769859.5 | 3789327.3 | 3822504.4 | 3852403.5 | 3893430.2 | 3928853.5 | 3966386.6 | 3995489.3 | 4034825.3 | 4067063 | [5 empty] | 1. Fountain/ 1. Well
| G95 |  | consumption | Industrial water |  | 18604.3 | 19616.3 | 19542.6 | 18124.7 | 19467.8 | 33177.1 | 29899.1 | 41026.7 | 35423.3 | 37533.1 | 29102.7 | 39336 | 32237.7 | 57283.6 | 82544 | 113983.1 | 100676.4 | 354487.1 | Consumption
FB5 | G95 | Flachbrunn 1 | 1. Kút/ 1. well | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 2. Fountain/ 2. Well
| G95 |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 733.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 733.7 | 0 | 0 | 733.7 | Consumption
FB6 | G95 | Flachbrunn 2 | 2. Kút/ 2. well | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 3. Well/ 3. Well
| G95 |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 729.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 729.3 | 0 | 0 | 729.3 | Consumption
FB7 | G95 | Flachbrunn 3 | 3. Kút/ 3. well | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 4. Well/ 4. Well
| G95 |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 729.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 729.3 | 0 | 0 | 729.3 | Consumption
FB8 | G95 | Flachbrunn 4 | 4. Kút/ 4. well | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 5. Well/ 5. Well
| G95 |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 798.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 798.6 | 0 | 0 | 798.6 | Consumption
FB9 | G95 | Flachbrunn 5 | 5. Kút/ 5. well | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Industrial water water metering device on the website of RÁBA Energiaszolgáltató Kft.
| G95 |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 690.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 690.8 | 0 | 0 | 690.8 | Consumption
13 MB4 | MOT | Ind.w. -Zentral | Industrial water water metering device RÁBA Energiaszolgáltató Kft. oldalán | Industrial water |  | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | 241738.2 | [5 empty] | Drinking water water metering device Motor Factory/ Trinkwasser Meßuhr
| MOT |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consumption
11 | MOT | Trinkw. -Zentral | Drinking water water metering device Motorgyár/ Trinkwasser Meßuhr | Drinking water | DN 150 | 54915.3 | 59192.1 | 63760.4 | 67851.3 | 72070.9 | 77152.9 | 81351.6 | 85396.3 | 88954.8 | 93509.9 | 98313.6 | 102358.3 | 105560.4 | [5 empty] | Drinking water water metering device Engine factory (spare) / Trinkwasser Meßuhr
| MOT | Trinkw. -Zentral | consumption | Drinking water |  | 2731.74 | 4276.8 | 4568.3 | 4090.9 | 4219.6 | 5082 | 4198.7 | 4044.7 | 3558.5 | 4555.1 | 4803.7 | 4044.7 | 3202.1 | 12936 | 13500.3 | 12158.3 | 12050.5 | 50645.1 | Consumption
| MOT | Trinkw. -Zentral | Drinking water water metering device Motorgyár (tartalék) / Trinkwasser Meßuhr | Drinking water | DN 150 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | [5 empty] | Drinking water water metering device Vehicle Factory/ Trinkwasser Meßuhr
| MOT | Trinkw. -Zentral | consumption | Drinking water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consumption
| FZW | Trinkw. -Zentral | Drinking water water metering device Járműgyár/ Trinkwasser Meßuhr | Drinking water | DN 300 | 295405 | 298342 | 302313 | 305833 | 309199 | 313126 | 317515 | 322014 | 326293 | 330352 | 334246 | 337535 | 340428 | [5 empty] | Industrial water clock reading between engine factory and vehicle factory Vehicle Factory > Engine Factory
| FZW | Trinkw. -Zentral | consumption | Drinking water |  | 2717 | 2937 | 3971 | 3520 | 3366 | 3927 | 4389 | 4499 | 4279 | 4059 | 3894 | 3289 | 2893 | 10428 | 11682 | 12837 | 10076 | 45023 | Consumption
MB5 | MOT |  | Motorgyár-járműgyár közötti Industrial water óraállás Járműgyár -> motorgyár | Industrial water | 125 | 855494.2 | 862956.6 | 865364.5 | 866946.3 | 869976.8 | 883534.3 | 894779.6 | 906694.8 | 927335.2 | 944537 | 957712.8 | 981649.9 | 990156.2 | [5 empty] | Industrial water clock reading between engine factory and vehicle factory Engine Factory > Vehicle Factory
| MOT |  | consumption | Industrial water |  | 1189.1 | 2338.6 | 2407.9 | 1581.8 | 3030.5 | 13557.5 | 11245.3 | 11915.2 | 20640.4 | 17201.8 | 13175.8 | 23937.1 | 9356.93 | 6328.3 | 27833.3 | 49757.4 | 46469.83 | 130388.83 | Consumption
MB6 | MOT |  | Motorgyár-járműgyár közötti Industrial water óraállás Motorgyár -> járműgyár | Industrial water |  | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | 18725.3 | [5 empty] | Engine manufacturing
| MOT |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AH01 cooling tower
|  |  | Engine manufacturing | [20 empty] | Consumption
MB25 | G01 | AH01 | AH01 cooling tower | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | AH02-04 cooling tower
| G01 | Adib.hűtés | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consumption
MB26 | G01 | AH02-04 | AH02-04 cooling tower | Industrial water |  | 84650.5 | 85053.1 | 85618.5 | 86145.4 | 86809.8 | 87635.9 | 88580.8 | 90195.6 | 91527.7 | 92719 | 93604.5 | 94319.5 | 94649.5 | [5 empty] | AH03 cooling tower
| G20 | Adib.hűtés | consumption | Industrial water |  | 198 | 402.6 | 565.4 | 526.9 | 664.4 | 826.1 | 944.9 | 1614.8 | 1332.1 | 1191.3 | 885.5 | 715 | 330 | 1494.9 | 2435.4 | 4138.2 | 1930.5 | 9999 | Consumption
MB27 | G01 | AH03 | AH03 cooling tower | Industrial water |  | 2103.2 | 2103.2 | 2103.2 | 2262.7 | 2579.5 | 2974.4 | 3415.5 | 3883 | 4343.9 | 4737.7 | 4969.8 | 5195.3 | 5276.7 | [5 empty] | cooling tower G4 Ip. water/ Kühlturm G4 Ind. Wasser
| G01 | Adib.hűtés | consumption | Industrial water |  | 60.5 | 0 | 0 | 159.5 | 316.8 | 394.9 | 441.1 | 467.5 | 460.9 | 393.8 | 232.1 | 225.5 | 81.4 | 159.5 | 1152.8 | 1322.2 | 539 | 3173.5 | Consumption
1 MB13 | G04 | KT G4 | cooling tower G4 Ip. víz/ Kühlturm G4 Ind. Wasser | Industrial water |  | 43522.6 | 46064.7 | 48946.7 | 54107.9 | 56945.9 | 60305.3 | 64559 | 69610.2 | 72461.4 | 78615.9 | 81906 | 83816.7 | 87364.2 | [5 empty] | cooling tower G4 Soft water/ Kühlturm G4 VE-Wasser
| G04 |  | consumption | Industrial water |  | 3111.9 | 2542.1 | 2882 | 5161.2 | 2838 | 3359.4 | 4253.7 | 5051.2 | 2851.2 | 6154.5 | 3290.1 | 1910.7 | 3547.5 | 10585.3 | 10451.1 | 14056.9 | 8748.3 | 43841.6 | Consumption
17 | G04 | KT G4 | cooling tower G4 Soft water/ Kühlturm G4 VE-Wasser | Soft water | 2" | 43305.9 | 45732.5 | 48489.1 | 53422.6 | 56129.7 | 59340.6 | 63395.2 | 68181.3 | 70887.3 | 76710.7 | 79823.7 | 81629.9 | 84968.4 | [5 empty] | G4 industrial water (M7)
| G04 |  | consumption | Soft water |  | 2976.6 | 2758.8 | 2756.6 | 4933.5 | 2707.1 | 3210.9 | 4054.6 | 4786.1 | 2706 | 5823.4 | 3113 | 1806.2 | 3338.5 | 10448.9 | 9972.6 | 13315.5 | 8257.7 | 41994.7 | Consumption
MB18 | G04 |  | G4 industrial water (M7) | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | cooling tower G6 hall cooling ip.water
| G04 |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consumption
MB9 | G06 |  | cooling tower G6 csarnokhűtés ip.víz | Industrial water | DN 80 | 414729.7 | 416576.6 | 419169.3 | 422066.7 | 424728.7 | 427827.4 | 431388.1 | 436264.4 | 440357.5 | 444056.8 | 446725.4 | 448200.5 | 449891.2 | [5 empty] | cooling tower G6 Soft water (Daikin)
| G06 |  | consumption | Industrial water |  | 2532.2 | 1846.9 | 2592.7 | 2897.4 | 2662 | 3098.7 | 3560.7 | 4876.3 | 4093.1 | 3699.3 | 2668.6 | 1475.1 | 1690.7 | 7337 | 9321.4 | 12668.7 | 5834.4 | 35161.5 | Consumption
| G06 |  | cooling tower G6 Soft water (Daikin) | Soft water |  | 62559.2 | 64559 | 67687.4 | 70537.5 | 74320.4 | 79731.3 | 88012.1 | 101822.6 | 112120.8 | 119417.1 | 123363.9 | 126700.2 | 128395.3 | [5 empty] | G6 Drinking water (Auxiliary Supply M8)
| G06 |  | consumption | Soft water |  | 1032.9 | 1999.8 | 3128.4 | 2850.1 | 3782.9 | 5410.9 | 8280.8 | 13810.5 | 10298.2 | 7296.3 | 3946.8 | 3336.3 | 1695.1 | 7978.3 | 17474.6 | 31405 | 8978.2 | 65836.1 | Consumption
| G06 | KT G6 | G6 Drinking water (pótbetáplálás M8) | Drinking water | DN 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | cooling tower G6 bev.ip.water/ Kältezentale G6 Eing.Ind.Wasser
| G06 |  | consumption | Drinking water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consumption
5 MB10 | G06 | KT G6 | cooling tower G6 bev.ip.víz/ Kältezentale G6 Eing.Ind.Wasser | Industrial water | DN 80 | 624615.2 | 626610.6 | 629764.3 | 632630.9 | 636485.3 | 641976.5 | 650438.8 | 664577.1 | 675100.8 | 682564.3 | 686607.9 | 689955.2 | 691670.1 | [5 empty] | cooling tower G6-deionized water/ Kältezentale G6-Weichwasser
| G06 |  | consumption | Industrial water |  | 1049.4 | 1995.4 | 3153.7 | 2866.6 | 3854.4 | 5491.2 | 8462.3 | 14138.3 | 10523.7 | 7463.5 | 4043.6 | 3347.3 | 1714.9 | 8015.7 | 17807.9 | 32125.5 | 9105.8 | 67054.9 | Consumption
3 | G06 | KT G6 | cooling tower G6-ioncserélt víz/ Kältezentale G6-Weichwasser | Soft water |  | 3224.1 | 3412.2 | 3720.2 | 3958.9 | 4268 | 4615.6 | 4981.9 | 5362.5 | 5760.7 | 6124.8 | 6303.44 | 6408.6 | 6452.6 | [5 empty] | cooling tower G6-deionized water/ Kältezentale G6-Weichwasser
| G06 |  | consumption | Soft water |  | 95.7 | 188.1 | 308 | 238.7 | 309.1 | 347.6 | 366.3 | 380.6 | 398.2 | 364.1 | 178.64 | 105.16 | 44 | 734.8 | 1023 | 1142.9 | 327.8 | 3228.5 | Consumption
4 | G06 | KT G6 | cooling tower G6-ioncserélt víz/ Kältezentale G6-Weichwasser | Soft water | DN 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | cooling tower G6-deionized water/ Kältezentale G6-Weichwasser
| G06 |  | consumption | Soft water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consumption
6 | G06 | KT G6 | cooling tower G6-ioncserélt víz/ Kältezentale G6-Weichwasser | Soft water |  | 174126.7 | 174515 | 175257.5 | 176742.5 | 177807.3 | 178708.2 | 179994.1 | 182373.4 | 183869.4 | 185028.8 | 185858.2 | 186023.2 | 186616.1 | [5 empty] | Industrial water water metering device G7 Spinkler/ Industriewasserzähler G7 Spinkler
| G06 |  | consumption | Soft water |  | 661.1 | 388.3 | 742.5 | 1485 | 1064.8 | 900.9 | 1285.9 | 2379.3 | 1496 | 1159.4 | 829.4 | 165 | 592.9 | 2615.8 | 3251.6 | 5034.7 | 1587.3 | 12489.4 | Consumption
14 MB7 | G07 | Spinkler 1 | Industrial water water metering device G7 Spinkler/ Industriewasserzähler G7 Spinkler | Industrial water | DN 150 | 3344440 | 3351579 | 3361545 | 3371511 | 3382324 | 3400507 | 3415478 | 3433870 | 3447686 | 3461337 | 3472997 | 3482589 | 3485636 | [5 empty] | Industrial water water metering device G7 Spinkler/ Industriewasserzähler G7 Spinkler
| G07 |  | consumption | Industrial water |  | 4807 | 7139 | 9966 | 9966 | 10813 | 18183 | 14971 | 18392 | 13816 | 13651 | 11660 | 9592 | 3047 | 27071 | 43967 | 45859 | 24299 | 141196 | Consumption
15 MB8 | G07 | Spinkler 2 | Industrial water water metering device G7 Spinkler/ Industriewasserzähler G7 Spinkler | Industrial water | DN 32 | 66931.7 | 69028.3 | 71428.5 | 73768.2 | 76485.2 | 79712.6 | 82335 | 85540.4 | 88081.4 | 90728 | 93369.1 | 95686.8 | 96252.2 | [5 empty] | cooling tower G9 industrial water Kühlturm G9 Ind. wasser
| G07 |  | consumption | Industrial water |  | 1087.9 | 2096.6 | 2400.2 | 2339.7 | 2717 | 3227.4 | 2622.4 | 3205.4 | 2541 | 2646.6 | 2641.1 | 2317.7 | 565.4 | 6836.5 | 8566.8 | 8393 | 5524.2 | 29320.5 | Consumption
38 MB12 | G09 | KT G9 | cooling tower G9 industrial water Kühlturm G9 Ind. wasser | Industrial water | DN 65 | 371413.9 | 373535.8 | 376759.9 | 379759.6 | 382888 | 391652.8 | 395400.5 | 402300.8 | 407243.1 | 412458.2 | 416037.6 | 419470.7 | 421862.1 | [5 empty] | cooling tower G9 Soft water/ Kühlturm G9 VE-Wasser
| G09 |  | consumption | Industrial water |  | 2354 | 2121.9 | 3224.1 | 2999.7 | 3128.4 | 8764.8 | 3747.7 | 6900.3 | 4942.3 | 5215.1 | 3579.4 | 3433.1 | 2391.4 | 8345.7 | 15640.9 | 17057.7 | 9403.9 | 50448.2 | Consumption
10 | G09 | KT G9 | cooling tower G9 Soft water/ Kühlturm G9 VE-Wasser | Soft water | DN 65 | 94992.7 | 97044.2 | 100335.4 | 103448.4 | 106687.9 | 115761.8 | 119597.5 | 126648.5 | 131741.5 | 136911.5 | 140492 | 143922.9 | 146385.8 | [5 empty] | G9 industrial water (M5)
| G09 |  | consumption | Soft water |  | 2359.5 | 2051.5 | 3291.2 | 3113 | 3239.5 | 9073.9 | 3835.7 | 7051 | 5093 | 5170 | 3580.5 | 3430.9 | 2462.9 | 8455.7 | 16149.1 | 17314 | 9474.3 | 51393.1 | Consumption
MB16 | G09 | pince | G9 industrial water (M5) | Industrial water | DN 65 | 474832.6 | 476896.2 | 479968.5 | 482414.9 | 485800.7 | 494162.9 | 497744.5 | 504315.9 | 508879.8 | 513827.6 | 517393.8 | 520615.7 | 523045.6 | [5 empty] | cooling tower G10 industrial water (also direct introduction) Kühlturm G10
| G09 |  | consumption | Industrial water |  | 2330.9 | 2063.6 | 3072.3 | 2446.4 | 3385.8 | 8362.2 | 3581.6 | 6571.4 | 4563.9 | 4947.8 | 3566.2 | 3221.9 | 2429.9 | 7582.3 | 15329.6 | 16083.1 | 9218 | 48213 | Consumption
7 MB11 | G10 | KT G10 | cooling tower G10 industrial water (direkt bevezetés is) Kühlturm G10 | Industrial water | DN 80 | 14030.5 | 14025 | 14092.1 | 14094.3 | 14625.6 | 16740.9 | 20321.4 | 24233 | 28620.9 | 32228.9 | 33756.8 | 34335.4 | 34761.1 | [5 empty] | cooling tower G10 Soft water/ Kühlturm G10 VE Wasser
| G10 |  | consumption | Industrial water |  | 0 | 0 | 67.1 | 2.2 | 531.3 | 2115.3 | 3580.5 | 3911.6 | 4387.9 | 3608 | 1527.9 | 578.6 | 425.7 | 69.3 | 6227.1 | 11907.5 | 2532.2 | 20736.1 | Consumption
18 | G10 | KT G10 | cooling tower G10 Soft water/ Kühlturm G10 VE Wasser | Soft water | DN 80 | 89526.8 | 89526.8 | 89527.9 | 89527.9 | 89577.4 | 89619.2 | 89695.1 | 89747.9 | 89793 | 89826 | 89828.2 | 89828.2 | 89828.2 | [5 empty] | G10 industrial water (M6)
| G10 |  | consumption | Soft water |  | 0 | 0 | 1.1 | 0 | 49.5 | 41.8 | 75.9 | 52.8 | 45.1 | 33 | 2.2 | 0 | 0 | 1.1 | 167.2 | 130.9 | 2.2 | 301.4 | Consumption
MB17 | G10 |  | G10 industrial water (M6) | Soft water |  | 773344 | 776919 | 782702.8 | 788605.4 | 794566.3 | 802800.9 | 813215.7 | 823218 | 831365.7 | 838599.3 | 845730.6 | 850825.8 | 850753.2 | [5 empty] | G10 industrial water
| G10 |  | consumption | Industrial water |  | 1488.3 | 3575 | 5783.8 | 5902.6 | 5960.9 | 8234.6 | 10414.8 | 10002.3 | 8147.7 | 7233.6 | 7131.3 | 5095.2 | 0 | 15261.4 | 24610.3 | 25383.6 | 12226.5 | 77481.8 | Consumption
MB20 | G10 | G10 Penthause | G10 industrial water | Soft water |  | 22223.267 | 22223.3 | 22223.3 | 22223.3 | 22390.5 | 22760.1 | 23219.9 | 23821.6 | 23821.6 | 23819.4 | 23820.5 | 23819.4 | 23819.4 | [5 empty] | Jörg cooling tower
|  |  | consumption | Industrial water |  | 1.067 | 0.033 | 0 | 0 | 167.2 | 369.6 | 459.8 | 601.7 | 0 | 0 | 1.1 | 0 | 0 | [5 empty] | Consumption
| G10 | Jörg | Jörg cooling tower | Industrial water |  | 0 | 150526.2 | 150527.3 | 150541.6 | 150544.9 | 150550.4 | 150673.6 | 151466.7 | 152687.7 | 153935.1 | 154697.4 | 155343.1 | 155609.3 | [5 empty] | G17 industrial water
| G10 | Adib.hűtés | consumption | Industrial water |  | 0 | 0 | 1.1 | 14.3 | 3.3 | 5.5 | 123.2 | 793.1 | 1221 | 1247.4 | 762.3 | 645.7 | 266.2 | 15.4 | 132 | 3261.5 | 1674.2 | 5083.1 | Consumption
MB21 | G17 | pince | G17 industrial water | Industrial water | DN100 | 0 | 869 | 881.1 | 892.1 | 899.8 | 906.4 | 914.1 | 920.7 | 938.3 | 946 | 953.7 | 961.4 | 973.5 | [5 empty] | G20 Energy Center Industrial Water Supply
|  |  | consumption | Industrial water |  | 0 | 0 | 12.1 | 11 | 7.7 | 6.6 | 7.7 | 6.6 | 17.6 | 7.7 | 7.7 | 7.7 | 12.1 | [5 empty] | Consumption
1 MB14 | G20 | KT G20 | G20 energiaközpont industrial water betáp | Industrial water | 2" | 315495.4 | 317854.9 | 323835.6 | 331837 | 334966.5 | 341414.7 | 348714.3 | 356892.8 | 362877.9 | 367023.8 | 375142.9 | 380147.9 | 380832.1 | [5 empty] | G20 Energy Center Industrial Water (Replacement Meter)
| G20 |  | consumption | Industrial water |  | 1664.3 | 2359.5 | 5980.7 | 8001.4 | 3129.5 | 6448.2 | 7299.6 | 8178.5 | 5985.1 | 4145.9 | 8119.1 | 5005 | 684.2 | 16341.6 | 16877.3 | 18309.5 | 13808.3 | 65336.7 | Consumption
17 MB15 | G20 | KT G20 | G20 energiaközpont industrial water (pótmérő) | Industrial water | 2" | 142998.9 | 142998.9 | 142998.9 | 142998.9 | 142998.9 | 14298.9 | 14298.9 | 14298.9 | 14298.9 | 142998.9 | 142998.9 | 142998.9 | 142998.9 | [5 empty] | G20 Energy Center Soft water cooling tower
| G20 |  | consumption | Industrial water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consumption
1 | G20 | KT G20 | G20 energiaközpont Soft water cooling tower | Soft water | 2" | 79625.7 | 81431.9 | 86080.5 | 92244.9 | 94649.5 | 99596.2 | 105194.1 | 1443.2 | 5947.7 | 9059.6 | 15203.1 | 18983.8 | 19499.7 | [5 empty] | G20 Energy Center Soft water cooling water
| G20 |  | consumption | Soft water |  | 1263.9 | 1806.2 | 4648.6 | 6164.4 | 2404.6 | 4946.7 | 5597.9 | 6249.1 | 4504.5 | 3111.9 | 6143.5 | 3780.7 | 515.9 | 12619.2 | 12949.2 | 13865.5 | 10440.1 | 49874 | Consumption
17 | G20 | KT G20 | G20 energiaközpont Soft water hűtővíz | Soft water | 2" | 101.2 | 101.2 | 101.2 | 101.2 | 101.2 | 101.2 | 101.2 | 101.2 | 101.2 | 101.2 | 102.3 | 102.3 | 102.3 | [5 empty] | G20 Energy Center Soft Water Chilled Water
| G20 |  | consumption | Soft water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1 | Consumption
17 | G20 | KT G20 | G20 energiaközpont Soft water hűtöttvíz | Soft water | 2" | 488.4 | 508.2 | 543.4 | 602.8 | 642.4 | 643.5 | 644.6 | 644.6 | 645.7 | 645.7 | 645.7 | 645.7 | 645.7 | [5 empty] | G20 Erweiterung industrial water
| G20 |  | consumption | Soft water |  | 27.61 | 19.8 | 35.2 | 59.4 | 39.6 | 1.1 | 1.1 | 0 | 1.1 | 0 | 0 | 0 | 0 | 114.4 | 41.8 | 1.1 | 0 | 157.3 | Consumption
MB19 | G20 |  | G20 Erweiterung industrial water | Industrial water | 2" | 437616.3 | 439932.9 | 443697.1 | 446966.3 | 450502.8 | 454526.6 | 458049.9 | 464143.9 | 469837.5 | 475356.2 | 481361.1 | 485746.8 | 489780.5 | [5 empty] | G23 Car Wash Well Water (Supply)
| G20 |  | consumption | Industrial water |  | 3283.5 | 2316.6 | 3764.2 | 3269.2 | 3536.5 | 4023.8 | 3523.3 | 6094 | 5693.6 | 5518.7 | 6004.9 | 4385.7 | 4033.7 | 9350 | 11083.6 | 17306.3 | 14424.3 | 52164.2 | Consumption
MB24 | G23 | autómosó | G23 autómosó kútvíz (betáp) | Industrial water |  | 688.435 | 766.7 | 844.8 | 922.9 | 1015.3 | 1113.2 | 1210 | 1314.5 | 1380.5 | 1458.6836 | 1530.9624 | 1595.6831 | 1654.4 | [5 empty] | G1 Drinking water
| G23 |  | consumption | Industrial water |  | 42.735 | 78.265 | 78.1 | 78.1 | 92.4 | 97.9 | 96.8 | 104.5 | 66 | 78.1836 | 72.2788 | 64.7207 | 58.7169 | 234.465 | 287.1 | 248.6836 | 195.7164 | 965.965 | Consumption
| G1 | 23 (hőközpont) | G1 Drinking water | Drinking water | DN100 | 178230.8 | 178735.7 | 179232.9 | 179678.4 | 180127.2 | 180559.5 | 181159 | 181283.3 | 181596.8 | 182006 | 182442.7 | 182879.4 | 183163.2 | [5 empty] | G1.4 social Drinking water
|  |  | consumption | Drinking water |  | 311.3 | 504.9 | 497.2 | 445.5 | 448.8 | 432.3 | 599.5 | 124.3 | 313.5 | 409.2 | 436.7 | 436.7 | 283.8 | [5 empty] | Consumption
| G1 | udvar akna | G1.4 szoc. Drinking water | Drinking water | DN100 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | 8583.3 | [5 empty] | G2.1 Drinking water
|  |  | consumption | Drinking water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Consumption
| G2.1 | pince | G2.1 Drinking water | Drinking water | DN30 | 15625.5 | 15704.7 | 15797.1 | 15902.7 | 15983 | 16072.1 | 16150.2 | 16231.6 | 16285.5 | 16365.8 | 16445 | 16516.5 | 16562.7 | [5 empty] | Kitchen Technology G2.2
|  |  | consumption | Drinking water |  | 51.7 | 79.2 | 92.4 | 105.6 | 80.3 | 89.1 | 78.1 | 81.4 | 53.9 | 80.3 | 79.2 | 71.5 | 46.2 | [5 empty] | Consumption
| G2.2 | Soz.w. G2 | Konyhatechnológiai G2.2 | Drinking water | DN30 | 8456.8 | 8493.1 | 8541.5 | 8583.3 | 8630.6 | 8681.2 | 8725.2 | 8773.6 | 8814.3 | 8859.4 | 8907.8 | 8955.1 | 8990.3 | [5 empty] | G2.2 social ép. Drinking water
|  |  | consumption | Drinking water |  | 31.9 | 36.3 | 48.4 | 41.8 | 47.3 | 50.6 | 44 | 48.4 | 40.7 | 45.1 | 48.4 | 47.3 | 35.2 | [5 empty] | Consumption
| G2.2 | pince | G2.2 szoc.ép. Drinking water | Drinking water | 2" | 4799.3 | 4859.8 | 4928 | 4989.6 | 5062.2 | 5107.3 | 5160.1 | 5211.8 | 5271.2 | 5341.6 | 5415.3 | 5480.2 | 5517.6 | [5 empty] | G2.2 social ép. Drinking water (1-3 em)
|  |  | consumption | Drinking water |  | 50.6 | 60.5 | 68.2 | 61.6 | 72.6 | 45.1 | 52.8 | 51.7 | 59.4 | 70.4 | 73.7 | 64.9 | 37.4 | [5 empty] | Consumption
| G2.2 | pince | G2.2 szoc.ép. Drinking water (1-3 em) | Drinking water | 2" | 15166.8 | 15255.9 | 15347.2 | 15429.7 | 15521 | 15620 | 15715.7 | 15805.9 | 15881.8 | 15976.4 | 16086.4 | 16173.3 | 16219.5 | [5 empty] | G2.2 social ép. Drinking water
|  |  | consumption | Drinking water |  | 53.9 | 89.1 | 91.3 | 82.5 | 91.3 | 99 | 95.7 | 90.2 | 75.9 | 94.6 | 110 | 86.9 | 46.2 | [5 empty] | Consumption
| G2.2 | pince | G2.2 szoc.ép. Drinking water | Drinking water | 2" | 10568.8 | 10635.9 | 10704.1 | 10766.8 | 10836.1 | 10913.1 | 10995.6 | 11082.5 | 11140.8 | 11215.6 | 11295.9 | 11365.2 | 11400.4 | [5 empty] | G9 A Drinking water
|  |  | consumption | Drinking water |  | 44 | 67.1 | 68.2 | 62.7 | 69.3 | 77 | 82.5 | 86.9 | 58.3 | 74.8 | 80.3 | 69.3 | 35.2 | [5 empty] | Consumption
| G9 | pince | G9 A Drinking water | Drinking water | DN160 | 347634.1 | 348005.9 | 348356.8 | 348697.8 | 349012.4 | 349354.5 | 349658.1 | 349960.6 | 350201.5 | 350520.5 | 350900 | 351243.2 | 351566.6 | [5 empty] | G9 B Drinking water
|  |  | consumption | Drinking water |  | 228.8 | 371.8 | 350.9 | 341 | 314.6 | 342.1 | 303.6 | 302.5 | 240.9 | 319 | 379.5 | 343.2 | 323.4 | [5 empty] | Consumption
| G9 | pince | G9 B Drinking water | Drinking water | DN90 | 23456.4 | 23574.1 | 23712.7 | 23844.7 | 23982.2 | 24158.2 | 24302.3 | 24449.7 | 24560.8 | 24700.5 | 24844.6 | 24981 | 25088.8 | [5 empty] | G10 Drinking water N2
|  |  | consumption | Drinking water |  | 88.165 | 117.7 | 138.6 | 132 | 137.5 | 176 | 144.1 | 147.4 | 111.1 | 139.7 | 144.1 | 136.4 | 107.8 | [5 empty] | Consumption
| G10 | G10.4 N2 oszlop | G10 Drinking water N2 | Drinking water |  | 239118 | 239426 | 239822 | 240108 | 240449 | 240790 | 241164 | 241516 | 241780 | 241912 | 241912 | 241912 | 241912 | [5 empty] | G10 Drinking water N12
|  |  | consumption | Drinking water |  | 176 | 308 | 396 | 286 | 341 | 341 | 374 | 352 | 264 | 132 | 0 | 0 | 0 | [5 empty] | Consumption
| G10 | G10.4 N12 oszlop | G10 Drinking water N12 | Drinking water |  | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | 75350 | [5 empty] | G10.5 Drinking water
|  |  | consumption | Drinking water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Consumption
| G10 | G10.1. C2 oszlop | G10.5 Drinking water | Drinking water |  | 254.1 | 287.1 | 324.5 | 356.4 | 390.5 | 424.6 | 457.6 | 490.6 | 518.1 | 552.2 | 586.3 | 618.2 | 641.3 | [5 empty] | G11 Drinking water
|  |  | consumption | Drinking water |  | 22 | 33 | 37.4 | 31.9 | 34.1 | 34.1 | 33 | 33 | 27.5 | 34.1 | 34.1 | 31.9 | 23.1 | [5 empty] | Consumption
| G11 | 11/6-os kapu | G11 Drinking water | Drinking water | DN60 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | 151113.6 | [5 empty] | G12 Drinking water
|  |  | consumption | Drinking water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Consumption
| G12 | G12.L.0.D9/5 | G12 Drinking water | Drinking water |  | 83624.2 | 83831 | 84055.4 | 84234.7 | 84423.9 | 84612 | 84788 | 84967.3 | 85100.4 | 85287.4 | 85500.8 | 85868.2 | 86123.4 | [5 empty] | G13 Drinking water
|  |  | consumption | Drinking water |  | 124.3 | 206.8 | 224.4 | 179.3 | 189.2 | 188.1 | 176 | 179.3 | 133.1 | 187 | 213.4 | 367.4 | 255.2 | [5 empty] | Consumption
| G13 | pince | G13 Drinking water | Drinking water | DN30 | 0 | 4215.2 | 4241.6 | 4263.6 | 4290 | 4317.5 | 4346.1 | 4375.8 | 4396.7 | 4424.2 | 4452.8 | 4481.4 | 0 | [5 empty] | G17 Drinking water
|  |  | consumption | Drinking water |  | 0 | 0 | 26.4 | 22 | 26.4 | 27.5 | 28.6 | 29.7 | 20.9 | 27.5 | 28.6 | 28.6 | 0 | [5 empty] | Consumption
| G17 | pince | G17 Drinking water | Drinking water | 2" | 0 | 808.5 | 818.4 | 827.2 | 833.8 | 842.6 | 851.4 | 858 | 866.8 | 875.6 | 884.4 | 892.1 | 902 | [5 empty] | Adiabatic Drinking Water Supply
|  |  | consumption | Drinking water |  | 0 | 0 | 9.9 | 8.8 | 6.6 | 8.8 | 8.8 | 6.6 | 8.8 | 8.8 | 8.8 | 7.7 | 9.9 | [5 empty] | Consumption
| G20 | Adib.hűtés I. | Adiabatikus Drinking water betáp | Drinking water |  | 10683.2 | 10694.2 | 10704.1 | 10718.4 | 10784.4 | 10837.2 | 10994.5 | 11271.7 | 11510.4 | 11578.6 | 11592.9 | 11598.4 | 11608.3 | [5 empty] | Adiabatic Drinking Water Supply
| G20 | Adib.hűtés | consumption | Drinking water |  | 9.9 | 11 | 9.9 | 14.3 | 66 | 52.8 | 157.3 | 277.2 | 238.7 | 68.2 | 14.3 | 5.5 | 9.9 | 35.2 | 276.1 | 584.1 | 29.7 | 925.1 | Consumption
| G20 | Adib.hűtés II. | Adiabatikus Drinking water betáp | Drinking water |  | 4551.8 | 4561.7 | 4568.3 | 4576 | 4614.5 | 4689.3 | 4745.4 | 4921.4 | 5150.2 | 5335 | 5347.1 | 5355.9 | 5365.8 | [5 empty] | G20 Drinking water
| G20 | Adib.hűtés | consumption | Drinking water |  | 6.6 | 9.9 | 6.6 | 7.7 | 38.5 | 74.8 | 56.1 | 176 | 228.8 | 184.8 | 12.1 | 8.8 | 9.9 | 24.2 | 169.4 | 589.6 | 30.8 | 814 | Consumption
| G20 | média híd F16 M21 Q4 | G20 Drinking water | Drinking water | DN50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | G20 Drinking water - from G40
|  |  | consumption | Drinking water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Consumption
| G20 |  | G20 Drinking water - G40 felől | Drinking water | DN100 | 30220.3 | 30570.1 | 30861.6 | 31110.2 | 31499.6 | 31843.9 | 32308.1 | 33029.7 | 33696.3 | 34210 | 34503.7 | 34784.2 | 34993.2 | [5 empty] | G20 domestic hot water
|  |  | consumption | Drinking water |  | 248.6 | 349.8 | 291.5 | 248.6 | 389.4 | 344.3 | 464.2 | 721.6 | 666.6 | 513.7 | 293.7 | 280.5 | 209 | [5 empty] | Consumption
| G20 | média híd F16 M21 Q6 | G20 domestic hot water | Hot water | DN40 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | 4680.5 | [5 empty] | G20 Circulated Domestic Hot Water
|  |  | consumption | domestic hot water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Consumption
| G20 | 16-os tengely M21 Q7 | G20 cirkulált domestic hot water | Hot water | DN40 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | 13393.6 | [5 empty] | G20 Drinking water - from G10
|  |  | consumption | domestic hot water |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Consumption
| G20 |  | G20 Drinking water - G10 felől | Drinking water |  | 11793.1 | 11921.8 | 12015.3 | 12192.4 | 12324.4 | 12461.9 | 12567.5 | 12684.1 | 12720.4 | 12720.4 | 12720.4 | 12720.4 | 12720.4
|  |  | consumption | Drinking water |  | 74.8 | 128.7 | 93.5 | 177.1 | 132 | 137.5 | 105.6 | 116.6 | 36.3 | 0 | 0 | 0 | 0

## Detailed_values
ENGINE | Water consumption |  |  | Total water consumption | Production volume | Drinking water specific | Industrial water specific | Cooling technology | Production volume
2024 | Drinking water | Industrial water | Cooling
2010 | 96569 | 369012.6 | 0 | 465581.6 | 1812833 | 0.05327 | 0.20356
2011 | 94684.7 | 426837.4 | 0 | 521522.1 | 2072132.7 | 0.045694 | 0.20599
2012 | 143781 | 525764.8 | 0 | 669545.8 | 2107123.7 | 0.068236 | 0.24952
2013 | 163010.1 | 522010.5 | 0 | 685020.6 | 2118199.6 | 0.076957 | 0.24644
2014 | 132874.5 | 454608 | 0 | 587482.5 | 2171107.4 | 0.061201 | 0.20939
2015 | 89328.8 | 516700.8 | 0 | 606029.6 | 2224772 | 0.040152 | 0.23225
2016 | 63148.8 | 509092.1 | 0 | 572240.9 | 2119301.8 | 0.029797 | 0.24022
2017 | 93381.2 | 520273.4244 | 0 | 613654.6244 | 2161681.5 | 0.043198 | 0.24068
2018 | 77090.2 | 617889.58 | 0 | 694979.78 | 2149731.1 | 0.03586 | 0.28743
2019 | 73667 | 477532 | 0 | 551199 | 2165616.2 | 0.034017 | 0.22051
2020 | 59631 | 464824.8 | 0 | 524455.8 | 1827758.9 | 0.032625 | 0.25431
2021 | 54098 | 238720.9 | 235431.9 | 528250.8 | 1801394.1 | 0.030031 | 0.13252 | 0.13069
2022 | 52982.6 | 176517 | 226989.4 | 456489 | 1845299.5 | 0.028712 | 0.095658 | 0.12301
2023 | 50443.8 | 136766.3 | 247320.7 | 434530.8 | 1826467.5 | 0.027618 | 0.07488 | 0.13541
Jan | 4276.8 | 7710.78 | 11268.4 | 23255.98 | 167207.7 | 0.025578 | 0.046115 | 0.067392 | 167207.7
Febr | 4568.3 | 9218.99 | 18466.8 | 32254.09 | 173432.6 | 0.02634 | 0.053156 | 0.10648 | 173432.6
Marz | 4090.9 | 3705.79 | 22629.2 | 30425.89 | 155564.2 | 0.026297 | 0.023822 | 0.14547 | 155564.2
April | 4219.6 | 12258.73 | 17128.1 | 33606.43 | 162685.6 | 0.025937 | 0.075352 | 0.10528 | 162685.6
Mai | 5082 | 8005.69 | 30504.1 | 43591.79 | 162330.3 | 0.031307 | 0.049317 | 0.18791 | 162330.3
Juni | 4198.7 | 11597.96 | 32413.7 | 48210.36 | 157627.8 | 0.026637 | 0.073578 | 0.20563 | 157627.8
Juli | 4044.7 | 1336.17 | 45931.6 | 51312.47 | 133691.8 | 0.030254 | 0.0099944 | 0.34356 | 133691.8
Aug | 3558.5 | 7401.02 | 35797.3 | 46756.82 | 103439.6 | 0.034402 | 0.071549 | 0.34607 | 103439.6
Sept | 4555.1 | 2807.31 | 33118.8 | 40481.21 | 146316.5 | 0.031132 | 0.019187 | 0.22635 | 146316.5
Okt | 4803.7 | 4351.27 | 25108.6 | 34263.57 | 165331.1 | 0.029055 | 0.026319 | 0.15187 | 165331.1
Nov | 4044.7 | 4578.53 | 17336 | 25959.23 | 145382.6 | 0.027821 | 0.031493 | 0.11924 | 145382.6
Dez | 2652.1 | 7853.89 | 11132 | 21637.99 | 66080.3 | 0.040135 | 0.11885 | 0.16846 | 66080.3
2024 | 50095.1 | 80826.13 | 300834.6 | 431755.83 | 1739090.1 | 0.028805 | 0.046476 | 0.17298
2025

## Input from wells (extraction)
Industrial water (wells) |  | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | Total
K-263 | 2022 | 1871.1 | 3760.9 | 953.7 | 1696.2 | 12991 | 13559.7 | 19686.7 | 22876.7 | 21146.4 | 18367.8 | 12170.4 | 9876.9 | 138957.5
| 2023 | 10252 | 13.2 | 5496.7 | 9862.6 | 12942.6 | 12993.2 | 15665.1 | 11836 | 13599.3 | 13304.5 | 12073.6 | 5160.1 | 123198.9
| 2024 | 9003.5 | 12273.8 | 11457.6 | 11810.7 | 12028.5 | 14322 | 15939 | 19017.9 | 22424.6 | 19275.3 | 115.5 | 0 | 147668.4
K-264 | 2022 | 1524.6 | 4475.9 | 866.8 | 2061.4 | 16298.7 | 17110.5 | 16441.7 | 12397 | 7532.8 | 6178.7 | 3392.4 | 2063.6 | 90344.1
| 2023 | 2251.7 | 15.4 | 6209.5 | 11053.9 | 14565.1 | 16987.3 | 24134 | 16421.9 | 20120.1 | 17716.6 | 15739.9 | 5962 | 151177.4
| 2024 | 9191.6 | 15307.6 | 15967.6 | 16680.4 | 16482.4 | 22105.6 | 24411.2 | 7475.6 | 67.1 | 0 | 0 | 0 | 127689.1
K-292 | 2022 | 12300.2 | 12519.1 | 12813.9 | 14801.6 | 9092.6 | 12773.2 | 12401.4 | 9015.6 | 8529.4 | 6459.2 | 10696.4 | 5669.4 | 127072
| 2023 | 9199.3 | 11322.3 | 10833.9 | 4891.7 | 8180.7 | 9563.4 | 11162.8 | 6850.8 | 7250.1 | 7224.8 | 7156.6 | 5516.5 | 99152.9
| 2024 | 5415.3 | 5420.8 | 5339.4 | 5762.9 | 9325.8 | 8258.8 | 11187 | 10115.6 | 10775.6 | 8428.2 | 11061.6 | 9609.6 | 100700.6
K-293 | 2022 | 13921.6 | 12158.3 | 15172.3 | 16743.1 | 9539.2 | 14753.2 | 14656.4 | 10160.7 | 10117.8 | 8067.4 | 5413.1 | 0 | 130703.1
| 2023 | 2575.1 | 16460.4 | 15480.3 | 5948.8 | 10363.1 | 14262.6 | 14384.7 | 9270.8 | 10032 | 10039.7 | 9435.8 | 7639.5 | 125892.8
| 2024 | 8338 | 8317.1 | 7212.7 | 7574.6 | 14319.8 | 13238.5 | 17913.5 | 14897.3 | 15121.7 | 11823.9 | 17041.2 | 12832.6 | 148630.9
B-301 | 2022 | 12079.1 | 11837.1 | 12876.6 | 11970.2 | 10939.5 | 12219.9 | 11610.5 | 8764.8 | 8518.4 | 6531.8 | 10584.2 | 5986.2 | 123918.3
| 2023 | 9515 | 11379.5 | 10969.2 | 5352.6 | 8841.8 | 10157.4 | 11485.1 | 7418.4 | 7856.2 | 7789.1 | 6568.98 | 5828.46 | 103161.74
| 2024 | 6256.36 | 6208.4 | 6052.2 | 6626.4 | 10231.1 | 9012.3 | 12761.1 | 11172.7 | 12588.4 | 9597.5 | 12067 | 10791 | 113364.46
ÁTAD J -> M | 2022 | 24252.8 | 19167.5 | 20576.6 | 19786.8 | 12262.8 | 19729.6 | 17086.3 | 10809.7 | 9687.7 | 6429.5 | 11603.9 | 2811.6 | 174204.8
| 2023 | 9869.2 | 21818.5 | 17183.1 | 4186.6 | 7702.2 | 12114.3 | 14887.4 | 11044 | 8783.5 | 5553.9 | 4220.7 | 1189.1 | 118552.5
| 2024 | 2338.6 | 2407.9 | 1581.8 | 3030.5 | 13557.5 | 11245.3 | 11915.2 | 20640.4 | 17201.8 | 13175.8 | 23937.1 | 8506.3 | 129538.2
Ivó MOT | 2022 | 3938 | 4422 | 4620 | 3883 | 4653 | 4730 | 3993 | 6336 | 4334 | 4026 | 4690.4 | 3357.2 | 52982.6
| 2023 | 4407.7 | 4485.8 | 4898.3 | 3850 | 4909.3 | 4330.7 | 4205.3 | 3388 | 4240.5 | 4167.9 | 4625.06 | 2731.74 | 50240.3
| 2024 | 4276.8 | 4568.3 | 4090.9 | 4219.6 | 5082 | 4198.7 | 4044.7 | 3558.5 | 4555.1 | 4803.7 | 4044.7 | 3202.1 | 50645.1
Ivó JÁRM | 2022 | 2497 | 3674 | 3575 | 2992 | 3762 | 4928 | 4873 | 3817 | 3784 | 3168 | 4081 | 1870 | 43021
| 2023 | 3102 | 3707 | 3817 | 2585 | 4070 | 4334 | 5137 | 2343 | 3828 | 3421 | 4147 | 2717 | 43208
| 2024 | 2937 | 3971 | 3520 | 3366 | 3927 | 4389 | 4499 | 4279 | 4059 | 3894 | 3289 | 2893 | 45023

## Cooling_technology
2024 | ENGINE MANUFACTURING
| Cooling tower | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | SUMME
| Nr. 1. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nr. 2. | 402.6 | 565.4 | 526.9 | 664.4 | 826.1 | 944.9 | 1614.8 | 1332.1 | 1191.3 | 885.5 | 715 | 330 | 9999
| Nr. 3. | 0 | 0 | 159.5 | 316.8 | 394.9 | 441.1 | 467.5 | 460.9 | 393.8 | 232.1 | 225.5 | 81.4 | 3173.5
| Nr. 4. | 2542.1 | 2882 | 5161.2 | 2838 | 3359.4 | 4253.7 | 5051.2 | 2851.2 | 6154.5 | 3290.1 | 1910.7 | 3547.5 | 43841.6
| Nr. 5. | 1846.9 | 2592.7 | 2897.4 | 2662 | 3098.7 | 3560.7 | 4876.3 | 4093.1 | 3699.3 | 2668.6 | 1475.1 | 1690.7 | 35161.5
| Nr. 6. | 1995.4 | 3153.7 | 2866.6 | 3854.4 | 5491.2 | 8462.3 | 14138.3 | 10523.7 | 7463.5 | 4043.6 | 3347.3 | 1714.9 | 67054.9
| Nr. 7. | 2121.9 | 3224.1 | 2999.7 | 3128.4 | 8764.8 | 3747.7 | 6900.3 | 4942.3 | 5215.1 | 3579.4 | 3433.1 | 2391.4 | 50448.2
| Nr. 8. | 0 | 67.1 | 2.2 | 531.3 | 2115.3 | 3580.5 | 3911.6 | 4387.9 | 3608 | 1527.9 | 578.6 | 425.7 | 20736.1
| Nr. 9. | 0 | 1.1 | 14.3 | 3.3 | 5.5 | 123.2 | 793.1 | 1221 | 1247.4 | 762.3 | 645.7 | 266.2 | 5083.1
| Nr. 10. | 2359.5 | 5980.7 | 8001.4 | 3129.5 | 6448.2 | 7299.6 | 8178.5 | 5985.1 | 4145.9 | 8119.1 | 5005 | 684.2 | 65336.7
| Grand total | 11268.4 | 18466.8 | 22629.2 | 17128.1 | 30504.1 | 32413.7 | 45931.6 | 35797.3 | 33118.8 | 25108.6 | 17336 | 11132 | 300834.6
| Monthly average temperature | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez
| 2024 | 2.8 | 9.7 | 10.8 | 13.5 | 17.9 | 21.4 | 24.4 | 24.6 | 18.3 | 12.8 | 5 | 2.7
| 2023 | 4.6 | 4.5 | 9 | 10.8 | 16.3 | 21.5 | 24.2 | 22.7 | 20.8 | 16.1 | 7.4 | 3.7
| 2022 | 3 | 6.1 | 6.5 | 10.8 | 19.1 | 22.9 | 24 | 23.8 | 16.7 | 14.1 | 7.6 | 3.1
| 2021 | 2.6 | 3.9 | 6.8 | 9.9 | 15 | 23.2 | 24.2 | 21.1 | 17.8 | 11.5 | 6.2 | 2.9
| 2020 | 1.3 | 7.5 | 8.2 | 13.2 | 15.6 | 20.5 | 22.9 | 23.6 | 18.5 | 11.9 | 6.6 | 4
| Cooling - engine production | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez
| 2021 | 12265 | 10166.2 | 12707.2 | 15048 | 17710 | 42254.3 | 37089.8 | 21255.3 | 22859.1 | 16677.1 | 14837.9 | 12562
| 2022 | 17406.4 | 15781.7 | 12509.2 | 12999.8 | 26097.5 | 24981 | 38097.4 | 24995.3 | 18775.9 | 15084.3 | 13884.2 | 6376.7
| 2023 | 9061.8 | 11853.6 | 16459.3 | 16117.2 | 22499.4 | 34637.9 | 35418.9 | 24273.7 | 27431.8 | 23334.3 | 18632.9 | 10711.8
| 2024 | 11268.4 | 18466.8 | 22629.2 | 17128.1 | 33554.51 | 35655.07 | 50524.76 | 39377.03 | 36430.68 | 27619.46 | 19069.6 | 12245.2
| Specific value - cooling - engine production | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez
| 2021 | 0.082205 | 0.05447 | 0.061099 | 0.081367 | 0.099546 | 0.23996 | 0.2984 | 0.33194 | 0.18585 | 0.12825 | 0.085183 | 0.12185
| 2022 | 0.12364 | 0.085544 | 0.082822 | 0.098371 | 0.14304 | 0.14493 | 0.2679 | 0.21313 | 0.096984 | 0.096438 | 0.080162 | 0.064195
| 2023 | 0.065079 | 0.07032 | 0.087126 | 0.098799 | 0.13314 | 0.18833 | 0.26393 | 0.21863 | 0.17247 | 0.15587 | 0.10118 | 0.14173
| 2024 | 0.067392 | 0.10648 | 0.14547 | 0.10528 | 0.20671 | 0.2262 | 0.37792 | 0.38068 | 0.24899 | 0.16706 | 0.13117 | 0.18531
| Production volume | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez
| 2021 | 149200.7 | 186637 | 207978.1 | 184939.7 | 177907.4 | 176089.1 | 124295.6 | 64033.2 | 122996.5 | 130036.5 | 174188.3 | 103092
| 2022 | 140778 | 184486.5 | 151036.6 | 132150.7 | 182447.1 | 172367.8 | 142206.9 | 117277.6 | 193598.9 | 156414.5 | 173201.6 | 99333.3
| 2023 | 139242.4 | 168567.3 | 188914 | 163131.1 | 168990.8 | 183921.1 | 134195.6 | 111027.4 | 159052.3 | 149699 | 184147.7 | 75578.8
| 2024 | 167207.7 | 173432.6 | 155564.2 | 162685.6 | 162330.3 | 157627.8 | 133691.8 | 103439.6 | 146316.5 | 165331.1 | 145382.6 | 66080.3

## Fluidmanagement
2024 | Industrial water consumption
| KMA Nr. | Dez 2023 | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | Grand total | VE Anlage
G1 | KMA-1 | 900.9 | 930.6 | 952.6 | 970.2 | 970.2 | 999.9 | 1019.7 | 1030.7 | 1041.7 | 1051.6 | 1069.2 | 1084.6 | 1106.6 |  | Csarnok | Ipari víz consumption 2024 | Sótlan víz előállítás 2024 | %
| consumption |  | 29.7 | 22 | 17.6 | 0 | 29.7 | 19.8 | 11 | 11 | 9.9 | 17.6 | 15.4 | 22 | 205.7 | ALLE | 61453.7 | 32627.1 | 53.0922
| KMA-3 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789 | 2789
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-4 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 | 1028 |  | KMA Anlage
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Csarnok | Ipari víz consumption 2024 | Sótlan víz consumption 2024
| KMA-7 | 31.9 | 31.9 | 31.9 | 31.9 | 31.9 | 31.9 | 31.9 | 31.9 | 47.3 | 53.9 | 67.1 | 74.8 | 83.6 |  | ALLE | 1185.8 | 15213
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.4 | 6.6 | 13.2 | 7.7 | 8.8 | 51.7
| KMA-8 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368 | 1368
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Waschanlage
| KMA-9 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 | 2883 |  | Csarnok |  | Sótlan víz consumption 2024
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ALLE |  | 17414.1
| KMA-10 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-12 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-13 | 102.3 | 102.3 | 102.3 | 102.3 | 102.3 | 102.3 | 102.3 | 102.3 | 198 | 248.6 | 357.5 | 386.1 | 386.1
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95.7 | 50.6 | 108.9 | 28.6 | 0 | 283.8
| KMA-14 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512 | 5512
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-15 | 3181.2 | 3197.7 | 3210.9 | 3224.1 | 3224.1 | 3238.4 | 3252.7 | 3269.2 | 3274.7 | 3285.7 | 3300 | 3307.7 | 3319.8
| consumption |  | 16.5 | 13.2 | 13.2 | 0 | 14.3 | 14.3 | 16.5 | 5.5 | 11 | 14.3 | 7.7 | 12.1 | 138.6
| KMA-19 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 592.9 | 594
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.1
| KMA-21 | 915.2 | 972.4 | 1020.8 | 1042.8 | 1042.8 | 1042.8 | 1074.7 | 1074.7 | 1074.7 | 1074.7 | 1074.7 | 1074.7 | 1074.7
| consumption |  | 57.2 | 48.4 | 22 | 0 | 0 | 31.9 | 0 | 0 | 0 | 0 | 0 | 0 | 159.5
| KMA-23 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-25 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-27 | 293.7 | 370.7 | 447.7 | 465.3 | 465.3 | 465.3 | 465.3 | 465.3 | 465.3 | 465.3 | 465.3 | 465.3 | 465.3
| consumption |  | 77 | 77 | 17.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.6
| KMA-30 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | 99
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
| KMA-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
consumption
| EA211 Keppler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
consumption
| R4 Keppler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
consumption
| Ve-1 | 84821 | 85611.9 | 86403.9 | 87920.8 | 87920.8 | 89223.2 | 90400.2 | 90942.5 | 91424.3 | 91795 | 92346.1 | 92973.1 | 95640.6
| consumption |  | 790.9 | 792 | 1516.9 | 0 | 1302.4 | 1177 | 542.3 | 481.8 | 370.7 | 551.1 | 627 | 2667.5 | 10819.6
| Ve-7 | 17564.8 | 20004.6 | 22236.5 | 24077.9 | 24077.9 | 26438.5 | 28589 | 31345.6 | 33401.5 | 35718.1 | 38160.1 | 40243.5 | 44081.4
| consumption |  | 2439.8 | 2231.9 | 1841.4 | 0 | 2360.6 | 2150.5 | 2756.6 | 2055.9 | 2316.6 | 2442 | 2083.4 | 3837.9 | 26516.6
| DI total |  | 3230.7 | 3023.9 | 3358.3 | 0 | 3663 | 3327.5 | 3298.9 | 2537.7 | 2687.3 | 2993.1 | 2710.4 | 6505.4 | 37336.2
| KMA total |  | 180.4 | 160.6 | 70.4 | 0 | 44 | 66 | 27.5 | 127.6 | 78.1 | 154 | 59.4 | 44 | 1012
2024 | Deionized water (DI-water)
| KMA Nr. | Dez 2023 | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | Grand total
G1 | KMA-1 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017 | 1017
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-3 | 61067.6 | 61383.3 | 61593.4 | 61779.3 | 61779.3 | 61977.3 | 62152.2 | 62289.7 | 62365.6 | 62469 | 62586.7 | 62691.2 | 62894.7
| consumption |  | 315.7 | 210.1 | 185.9 | 0 | 198 | 174.9 | 137.5 | 75.9 | 103.4 | 117.7 | 104.5 | 203.5 | 1827.1
| KMA-4 | 50685.8 | 50888.2 | 51090.6 | 51313.9 | 51313.9 | 51483.3 | 51653.8 | 51811.1 | 51989.3 | 52059.7 | 52211.5 | 52383.1 | 52619.6
| consumption |  | 202.4 | 202.4 | 223.3 | 0 | 169.4 | 170.5 | 157.3 | 178.2 | 70.4 | 151.8 | 171.6 | 236.5 | 1933.8
| KMA-7 | 4449.5 | 4478.1 | 4499 | 4521 | 4521 | 4547.4 | 4568.3 | 4587 | 4587 | 4587 | 4587 | 4587 | 4606.8
| consumption |  | 28.6 | 20.9 | 22 | 0 | 26.4 | 20.9 | 18.7 | 0 | 0 | 0 | 0 | 19.8 | 157.3
| KMA-8 | 23845.8 | 23925 | 24017.4 | 24076.8 | 24076.8 | 24147.2 | 24207.7 | 24261.6 | 24323.2 | 24372.7 | 24417.8 | 24435.4 | 24464
| consumption |  | 79.2 | 92.4 | 59.4 | 0 | 70.4 | 60.5 | 53.9 | 61.6 | 49.5 | 45.1 | 17.6 | 28.6 | 618.2
| KMA-9 | 21027.6 | 21084.8 | 21134.3 | 21179.4 | 21179.4 | 21226.7 | 21265.2 | 21302.6 | 21333.4 | 21351 | 21392.8 | 21434.6 | 21527
| consumption |  | 57.2 | 49.5 | 45.1 | 0 | 47.3 | 38.5 | 37.4 | 30.8 | 17.6 | 41.8 | 41.8 | 92.4 | 499.4
| KMA-10 | 4800.4 | 4829 | 4848.8 | 4868.6 | 4868.6 | 4885.1 | 4898.3 | 4914.8 | 4929.1 | 4937.9 | 4951.1 | 4964.3 | 5003.9
| consumption |  | 28.6 | 19.8 | 19.8 | 0 | 16.5 | 13.2 | 16.5 | 14.3 | 8.8 | 13.2 | 13.2 | 39.6 | 203.5
| KMA-12 | 12711.6 | 12772.1 | 12818.3 | 12868.9 | 12868.9 | 12918.4 | 12962.4 | 12996.5 | 13029.5 | 13051.5 | 13103.2 | 13152.7 | 13213.2
| consumption |  | 60.5 | 46.2 | 50.6 | 0 | 49.5 | 44 | 34.1 | 33 | 22 | 51.7 | 49.5 | 60.5 | 501.6
| KMA-13 | 9138.8 | 9264.2 | 9378.6 | 9488.6 | 9488.6 | 9606.3 | 9703.1 | 9787.8 | 9787.8 | 9787.8 | 9787.8 | 9864.8 | 10040.8
| consumption |  | 125.4 | 114.4 | 110 | 0 | 117.7 | 96.8 | 84.7 | 0 | 0 | 0 | 77 | 176 | 902
| KMA-14 | 35720.3 | 35742.3 | 35764.3 | 35863.3 | 35863.3 | 35962.3 | 36095.4 | 36205.4 | 36271.4 | 36337.4 | 36472.7 | 36568.4 | 36820.3
| consumption |  | 22 | 22 | 99 | 0 | 99 | 133.1 | 110 | 66 | 66 | 135.3 | 95.7 | 251.9 | 1100
| KMA-15 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2025.1 | 2027.3 | 2039.4
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2 | 12.1 | 14.3
| KMA-19 | 1535.6 | 1559.8 | 1581.8 | 1598.3 | 1598.3 | 1620.3 | 1620.3 | 1651.1 | 1657.7 | 1668.7 | 1679.7 | 1688.5 | 1702.8
| consumption |  | 24.2 | 22 | 16.5 | 0 | 22 | 0 | 30.8 | 6.6 | 11 | 11 | 8.8 | 14.3 | 167.2
| KMA-21 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3 | 12312.3
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-23 | 13640 | 13658.7 | 13671.9 | 13685.1 | 13685.1 | 13725.8 | 13758.8 | 13791.8 | 13812.7 | 13839.1 | 13875.4 | 13909.5 | 13976.6
| consumption |  | 18.7 | 13.2 | 13.2 | 0 | 40.7 | 33 | 33 | 20.9 | 26.4 | 36.3 | 34.1 | 67.1 | 336.6
| KMA-25 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-27 | 7030.1 | 7030.1 | 7030.1 | 7086.2 | 7086.2 | 7146.7 | 7185.2 | 7208.3 | 7222.6 | 7230.3 | 7268.8 | 7285.3 | 7351.3
| consumption |  | 0 | 0 | 56.1 | 0 | 60.5 | 38.5 | 23.1 | 14.3 | 7.7 | 38.5 | 16.5 | 66 | 321.2
| KMA-30 | 1615.9 | 1677.5 | 1728.1 | 1774.3 | 1774.3 | 1820.5 | 1857.9 | 1886.5 | 1915.1 | 1930.5 | 1977.8 | 2000.9 | 2065.8
| consumption |  | 61.6 | 50.6 | 46.2 | 0 | 46.2 | 37.4 | 28.6 | 28.6 | 15.4 | 47.3 | 23.1 | 64.9 | 449.9
| KMA-31 | 290.4 | 299.2 | 308 | 315.7 | 315.7 | 321.2 | 326.7 | 332.2 | 334.4 | 337.7 | 342.1 | 345.4 | 352
| consumption |  | 8.8 | 8.8 | 7.7 | 0 | 5.5 | 5.5 | 5.5 | 2.2 | 3.3 | 4.4 | 3.3 | 6.6 | 61.6
| EA211 Keppler | 155.1 | 159.5 | 161.7 | 165 | 165 | 168.3 | 171.6 | 173.8 | 176 | 177.1 | 179.3 | 181.5 | 184.8
| consumption |  | 4.4 | 2.2 | 3.3 | 0 | 3.3 | 3.3 | 2.2 | 2.2 | 1.1 | 2.2 | 2.2 | 3.3 | 29.7
| R4 Keppler | 141.9 | 147.4 | 151.8 | 154 | 154 | 156.2 | 158.4 | 159.5 | 161.7 | 161.7 | 163.9 | 165 | 166.1
| consumption |  | 5.5 | 4.4 | 2.2 | 0 | 2.2 | 2.2 | 1.1 | 2.2 | 0 | 2.2 | 1.1 | 1.1 | 24.2
| Ve-1 | 57504.7 | 58229.6 | 58769.7 | 59785 | 59785 | 60649.6 | 61414.1 | 61810.1 | 62051 | 62304 | 62653.8 | 63063 | 67590.6
| consumption |  | 724.9 | 540.1 | 1015.3 | 0 | 864.6 | 764.5 | 396 | 240.9 | 253 | 349.8 | 409.2 | 4527.6 | 10085.9
| Ve-7 | 2103.2 | 2103.2 | 2103.2 | 2274.8 | 2274.8 | 2603.7 | 2981 | 3323.1 | 3895.1 | 4368.1 | 4756.4 | 4975.3 | 5283.3
| consumption |  | 0 | 0 | 171.6 | 0 | 328.9 | 377.3 | 342.1 | 572 | 473 | 388.3 | 218.9 | 308 | 3180.1
| Ve-7 | 6564.8 | 7976.1 | 9333.5 | 10366.4 | 10366.4 | 11603.9 | 12679.7 | 13922.7 | 14858.8 | 15874.1 | 17127 | 18217.1 | 20273
| consumption |  | 1411.3 | 1357.4 | 1032.9 | 0 | 1237.5 | 1075.8 | 1243 | 936.1 | 1015.3 | 1252.9 | 1090.1 | 2055.9 | 13708.2
| VE total |  | 2136.2 | 1897.5 | 2048.2 | 0 | 2102.1 | 1840.3 | 1639 | 1177 | 1268.3 | 1602.7 | 1718.2 | 6583.5 | 24013
| KMA total |  | 1042.8 | 878.9 | 960.3 | 0 | 974.6 | 872.3 | 774.4 | 536.8 | 402.6 | 698.5 | 662.2 | 1344.2 | 9147.6
| Industrial water - DI water losses |  | 1094.5 | 1126.4 | 1310.1 | 0 | 1560.9 | 1487.2 | 1659.9 | 1360.7 | 1419 | 1390.4 | 992.2 | -78.1 | 13323.2
2024 | Industrial water
| KMA Nr. | Dez 2023 | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | Grand total
G10/ G20 | KMA-1 | x | bar: Jan to Dez
| consumption | x | [12 empty] | 0
| KMA-2 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045 | 3045
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-3 | 5334 | 5334 | 5334 | 5334 | 5334 | x | x | x | x | x | x | x | x
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-11 | x | bar: Jan to Dez
| consumption | x | [12 empty] | 0 | bar: Jan to Okt
| KMA-12 | 4555.1 | 4555.1 | 4555.1 | 4555.1 | 4555.1 | 4555.1 | 4555.1 | 4555.1 | 4555.1 | 4557.3 | 4557.3 | 4557.3 | 4557.3
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2 | 0 | 0 | 0 | 2.2
| KMA-13 | 1937.1 | 1937.1 | 1937.1 | 1937.1 | 1937.1 | 1937.1 | 1937.1 | 1937.1 | 1937.1 | 1938.2 | 1938.2 | 1938.2 | 1939.3
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0 | 0 | 1.1 | 2.2
| KMA-15 | x | bar: Jan to Dez
| consumption | x | [12 empty] | 0
| KMA-16 | x | bar: Jan to Dez
| consumption | x | [12 empty] | 0
| KMA-17 | x | bar: Jan to Dez
| consumption | x | [12 empty] | 0
| KMA-22 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9055.2 | 9066.2
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11
| KMA-27 | 42.9 | 42.9 | 42.9 | 42.9 | 42.9 | 42.9 | 42.9 | 0 | 27.5 | 44 | 90.2 | 110 | 110
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.5 | 46.2 | 19.8 | 0 | 82.5
| KMA-29 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 15.4 | 30.8 | 42.9 | 50.6 | 62.7 | 78.1 | 78.1 | 78.1
| consumption |  | 0 | 0 | 0 | 0 | 13.2 | 15.4 | 12.1 | 7.7 | 12.1 | 15.4 | 0 | 0 | 75.9
| KMA-31 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215
| consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| KMA-32 | 0 | 2.2 | 2.2 | 2.2 | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| consumption |  | 2 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 2.8
| Ve-5 | 71208.5 | 71886.1 | 72454.8 | 72724.3 | 72724.3 | 73228.1 | 73553.7 | 73727.5 | 73727.5 | 0 | 74056.4 | 74310.5 | 74784.6
| consumption |  | 677.6 | 568.7 | 269.5 | 0 | 503.8 | 325.6 | 173.8 | 0 | 0 | 328.9 | 254.1 | 474.1 | 3576.1
| Ve-6 | 181395.5 | 183515.2 | 185328 | 187002.2 | 187002.2 | 188780.9 | 190623.4 | 192414.2 | 193693.5 | 195054.2 | 196854.9 | 198584.1 | 201936.9
| consumption |  | 2119.7 | 1812.8 | 1674.2 | 0 | 1778.7 | 1842.5 | 1790.8 | 1279.3 | 1360.7 | 1800.7 | 1729.2 | 3352.8 | 20541.4
| VE total |  | 2797.3 | 2381.5 | 1943.7 | 0 | 2282.5 | 2168.1 | 1964.6 | 1279.3 | 1360.7 | 2129.6 | 1983.3 | 3826.9 | 24117.5
| KMA total |  | 0 | 0 | 0 | 0 | 13.2 | 15.4 | 12.1 | 7.7 | 31.9 | 61.6 | 19.8 | 12.1 | 173.8
2024 | DI-water
| KMA Nr. | Dez 2023 | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | Grand total
G10/ G20 | KMA-1 | x | bar: Jan to Dez
| consumption | x | [12 empty] | 0 | bar: Jan to Dez
| KMA-2 | 43011.1 | 43322.4 | 43611.7 | 43756.9 | 43756.9 | 44034.1 | 44271.7 | 44403.7 | 44511.5 | 44592.9 | 44765.6 | 44922.9 | 45199
| consumption |  | 311.3 | 289.3 | 145.2 | 0 | 277.2 | 237.6 | 132 | 107.8 | 81.4 | 172.7 | 157.3 | 276.1 | 2187.9
| KMA-3 | 26500.1 | 26537.5 | 26546.3 | 26547.4 | 26547.4 | x | x | x | x | x | x | x | x
| consumption |  | 37.4 | 8.8 | 1.1 | 0 | x | x | x | x | x | x | x | x | 47.3
| KMA-11 | x | bar: Jan to Febr; Jun to Dez
| consumption | x | [12 empty] | 0 | bar: Jan to Dez
| KMA-12 | 17448.2 | 17503.2 | 17556 | 17570.3 | 17570.3 | 17626.4 | 17658.3 | 17699 | 17717.7 | 17740.8 | 17780.4 | 17814.5 | 17900.3
| consumption |  | 55 | 52.8 | 14.3 | 0 | 56.1 | 31.9 | 40.7 | 18.7 | 23.1 | 39.6 | 34.1 | 85.8 | 452.1
| KMA-13 | 4334 | 4356 | 4375.8 | 4382.4 | 4382.4 | 4401.1 | 4412.1 | 4429.7 | 4436.3 | 4442.9 | 4460.5 | 4473.7 | 4499
| consumption |  | 22 | 19.8 | 6.6 | 0 | 18.7 | 11 | 17.6 | 6.6 | 6.6 | 17.6 | 13.2 | 25.3 | 165
| KMA-15 | x | bar: Jan to Dez
| consumption | [13 empty] | 0
| KMA-16 | x | bar: Jan to Dez
| consumption | [13 empty] | 0
| KMA-17 | x | bar: Jan to Dez
| consumption | [13 empty] | 0
| KMA-22 | 24552 | 24839.1 | 25037.1 | 25218.6 | 25218.6 | 25430.9 | 25608 | 25773 | 25883 | 25938 | 26129.4 | 26309.8 | 26717.9
| consumption |  | 287.1 | 198 | 181.5 | 0 | 212.3 | 177.1 | 165 | 110 | 55 | 191.4 | 180.4 | 408.1 | 2165.9
| KMA-27 | 1535.6 | 1589.5 | 1636.8 | 1681.9 | 1681.9 | 1729.2 | 1769.9 | 1805.1 | 1807.3 | 1807.3 | 1807.3 | 1838.1 | 1940.4
| consumption |  | 53.9 | 47.3 | 45.1 | 0 | 47.3 | 40.7 | 35.2 | 2.2 | 0 | 0 | 30.8 | 102.3 | 404.8
| KMA-29 | 1163.8 | 1179.2 | 1188 | 1210 | 1210 | 1211.1 | 1211.1 | 1211.1 | 1211.1 | 1211.1 | 1214.4 | 1227.6 | 1251.8
| consumption |  | 15.4 | 8.8 | 22 | 0 | 1.1 | 0 | 0 | 0 | 0 | 3.3 | 13.2 | 24.2 | 88
| KMA-31 | 319 | 391.6 | 437.8 | 492.8 | 492.8 | 552.2 | 580.8 | 585.2 | 612.7 | 651.2 | 694.1 | 734.8 | 823.9
| consumption |  | 72.6 | 46.2 | 55 | 0 | 59.4 | 28.6 | 4.4 | 27.5 | 38.5 | 42.9 | 40.7 | 89.1 | 504.9
| KMA-32 | 122.1 | 138.6 | 155.1 | 171.6 | 171.6 | 187 | 205.7 | 229.9 | 229.9 | 229.9 | 229.9 | 229.9 | 229.9
| consumption |  | 16.5 | 16.5 | 16.5 | 0 | 15.4 | 18.7 | 24.2 | 0 | 0 | 0 | 0 | 0 | 107.8
| Ve-5 I. | 24114.2 | 24334.2 | 24509.1 | 24598.2 | 24598.2 | 24763.2 | 24889.7 | 24966.7 | 24966.7 | 0 | 24968.9 | 24970 | 24970
| consumption |  | 220 | 174.9 | 89.1 | 0 | 165 | 126.5 | 77 | 0 | 0 | 2.2 | 1.1 | 0 | 855.8
| Ve-5 II. | 17794.7 | 18002.6 | 18176.4 | 18265.5 | 18265.5 | 18431.6 | 18557 | 18632.9 | 18632.9 | 0 | 18774.8 | 18931 | 19237.9
|  |  | 207.9 | 173.8 | 89.1 | 0 | 166.1 | 125.4 | 75.9 | 0 | 0 | 141.9 | 156.2 | 306.9 | 1443.2
| Ve-6 | 130161.9 | 130986.9 | 131628.2 | 132214.5 | 132214.5 | 132843.7 | 133371.7 | 133916.2 | 134312.2 | 134761 | 135315.4 | 135823.6 | 136477
| consumption |  | 825 | 641.3 | 586.3 | 0 | 629.2 | 528 | 544.5 | 396 | 448.8 | 554.4 | 508.2 | 653.4 | 6315.1
| VE total |  | 1252.9 | 990 | 764.5 | 0 | 960.3 | 779.9 | 697.4 | 396 | 448.8 | 698.5 | 665.5 | 960.3 | 8614.1
| KMA total |  | 871.2 | 687.5 | 487.3 | 0 | 672.1 | 526.9 | 394.9 | 272.8 | 204.6 | 467.5 | 469.7 | 1010.9 | 6065.4
| Industrial water - DI water losses |  | 1544.4 | 1391.5 | 1179.2 | 0 | 1322.2 | 1388.2 | 1267.2 | 883.3 | 911.9 | 1431.1 | 1317.8 | 2866.6 | 15503.4
2024 | Warm DI-water
| m3 |  | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | SUMME
|  |  | 118.8 | 145.2 | 128.7 | 128.7 | 179.3 | 200.2 | 159.5 | 105.6 | 112.75 | 163.35 | 0 | 0 | 1442.1
| Industrial water (m3) |  | Jan | Febr | Marz | Apr | Mai | Jun | Jul | Aug | Sept | Okt | Nov | Dez | Grand total
G1 | VE-1 | 2022 | 2409 | 1961.3 | 1699.5 | 2544.3 | 2398 | 1600.5 | 2179.1 | 1064.8 | 1801.8 | 2181.3 | 2366.1 | 1906.3 | 24112
|  | 2023 | 2477.2 | 1853.5 | 3205.4 | 1871.1 | 833.8 | 1687.4 | 309.1 | 592.9 | 886.6 | 987.8 | 1122 | 541.2 | 16368
|  | 2024 | 869.99 | 871.2 | 1668.59 | 0 | 1432.64 | 1294.7 | 596.53 | 529.98 | 407.77 | 606.21 | 689.7 | 2934.25 | 11901.56
| VE-7 | 2022 | 924 | 2919.4 | 2610.3 | 1085.7 | 1329.9 | 1518 | 1717.1 | 977.9 | 1547.7 | 1865.6 | 1895.3 | 1434.4 | 19825.3
|  | 2023 | 1266.1 | 1009.8 | 1364 | 3021.7 | 1421.2 | 114.4 | 121 | 250.8 | 2978.8 | 2556.4 | 1769.9 | 1140.7 | 17014.8
|  | 2024 | 2683.78 | 2455.09 | 2025.54 | 0 | 2596.66 | 2365.55 | 3032.26 | 2261.49 | 2548.26 | 2686.2 | 2291.74 | 4221.69 | 29168.26
G10/ G20 | VE-5 | 2022 | 434.5 | 143 | 1640.1 | 629.2 | 568.7 | 503.8 | 584.1 | 324.5 | 609.4 | 658.9 | 720.5 | 660 | 7476.7
|  | 2023 | 410.3 | 385 | 572 | 814 | 359.7 | 863.5 | 97.9 | 305.8 | 636.9 | 570.9 | 619.3 | 264 | 5899.3
|  | 2024 | 745.36 | 625.57 | 296.45 | 0 | 554.18 | 358.16 | 191.18 | 0 | 0 | 361.79 | 279.51 | 521.51 | 3933.71
| VE-6 | 2022 | 1114.3 | 1785.3 | 581.9 | 1729.2 | 1633.5 | 1438.8 | 1644.5 | 920.7 | 1581.8 | 1817.2 | 1785.3 | 1655.5 | 17688
|  | 2023 | 1688.5 | 1430 | 1796.3 | 2350.7 | 1035.1 | 2919.4 | 484 | 1140.7 | 2451.9 | 1904.1 | 1623.6 | 898.7 | 19723
|  | 2024 | 2331.67 | 1994.08 | 1841.62 | 0 | 1956.57 | 2026.75 | 1969.88 | 1407.23 | 1496.77 | 1980.77 | 1902.12 | 3688.08 | 22595.54
Note on B131: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: manuális bejegyzés
Note on B169: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: manuális bejegyzés